| Building name: |  |  |  | Reference No. |  |  | REV-000 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Inspection Item |  |  | Task |  | Frequency |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  |  |  |  |  | N/A | YES | NO |
| 1.0 | Roof |  |  |  |  |  |  |  |  |  |
| 1.1 | Roof Coverings |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 1.2 | Roof Boarding |  |  | Visual inspection |  | Annually |  |  |  |  |
| 1.3 | Any Other Substrates |  |  | Visual inspection |  | Annually |  |  |  |  |
| 1.4 | Glazing |  |  | Visual inspection* |  | Annually* |  |  |  |  |
| 1.5 | Roof frame (beams, columns and masonry walls providing support) |  |  | Visual inspection |  | Annually |  |  |  |  |
| 1.6 | Corrosion Protection |  |  | Test |  | 12 months |  |  |  |  |
| 1.7 | Pipework |  |  | Visual (confirm structural integrity and function) |  | 12 months |  |  |  |  |
| 1.8 | Insulation |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 1.9 | Louvres |  |  | Visual (confirm structural integrity and function) |  | 12 months |  |  |  |  |
| 1.10 | Vents |  |  | Visual (confirm structural integrity and function) |  | 12 months |  |  |  |  |
| 1.11 | Cladding |  |  | Visual inspection* |  | Not less than annually* |  |  |  |  |
| 1.12 | Eaves |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 1.13 | Soffit |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 2.0 | Façade |  |  |  |  |  |  |  |  |  |
| 2.1 | Façade |  |  | Visual inspection* |  | Not less than annually* |  |  |  |  |
| 2.1 | Canopies (fixed, glazed, dependent) |  |  | Visual inspection* |  | Not less than annually* |  |  |  |  |
| 2.2 | Doors – Fire (including door furniture) |  |  | Visual inspection*** |  | Monthly*** |  |  |  |  |
| 2.3 | Curtain Walling (glazing pressure plate, glazing pressure plate caps, movement joints, panels, connector, steel boom trusses, secondary structural support) |  |  | Visual inspection* |  | Not less than annually* |  |  |  |  |
| 2.4 | Doors – Sensor Operated |  |  | Inspection** |  | Subject to local risk assessment** |  |  |  |  |
| 2.5 | Doors – Manual (including door furniture) |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 2.6 | Louvres |  |  | Visual (confirm structural integrity and function) |  | Annually |  |  |  |  |
| 2.7 | Photovoltaic Coverings |  |  | Visual inspection & Test |  | Annually |  |  |  |  |
| 2.8 | Screens |  |  | Visual inspection* |  | Not less than annually* |  |  |  |  |
| 2.9 | Soft Finish |  |  | Visual inspection* |  | Not less than annually* |  |  |  |  |
| 2.10 | Vents (manual/powered) |  |  | Visual (confirm structural integrity and function) |  | Annually |  |  |  |  |
| 2.11 | Windows (glass, standard, security) |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 2.12 | Cladding (hard – tiles, panels) |  |  | Visual inspection* |  | Not less than annually* |  |  |  |  |
| 2.13 | Non-Supporting Structural Walls (non-load bearing walls of masonry, steel, glass, timber or concrete) |  |  | Visual inspection |  | Annually |  |  |  |  |
| 3.0 | Internal Walls |  |  |  |  |  |  |  |  |  |
| 3.1 | Walls |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 3.2 | Doors – Manual (including door furniture) |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 3.3 | Hard Finish (including hard tiles) |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 3.4 | Soft Finish |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 3.5 | Windows (Glass, Standard, Security) |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 3.6 | Cladding Panels |  |  | Inspection |  | Routinely/continuously by Building Users* |  |  |  |  |
| 3.7 | Non-Supporting Structural Walls (non-load bearing walls of masonry, steel, glass, timber or concrete) |  |  | Visual inspection |  | Annually |  |  |  |  |
| 3.8 | Supporting Structural Walls (load bearing walls of masonry, steel, glass, timber or concrete) |  |  | Visual inspection |  | Annually |  |  |  |  |
| 4.0 | Floors Finishes |  |  |  |  |  |  |  |  |  |
| 4.1 | Floors Finishes |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 4.2 | Carpets |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 4.3 | Hard Finish (including hard tiles) |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 4.4 | Soft Finish |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
| 4.4 | Coatings |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
| 5.0 | Ceilings |  |  |  |  |  |  |  |  |  |
| 5.1 | Ceilings |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 5.2 | Hard Finish (cornices/coves, acoustical ceiling treatment) |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 5.3 | Suspended ceilings (hard – tiles, access hatch, cornices/coves, grid – main) |  |  | Visual inspection**** |  | - |  |  |  |  |
| 6.0 | Building Structures – Permanent Elements |  |  |  |  |  |  |  |  |  |
| 6.1 | Structural Elements |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 6.2 | Slab (steel, concrete, masonry, timber) |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 6.3 | Beams (steel, concrete, masonry, timber) |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 6.4 | Columns (steel, concrete, masonry, timber) |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 6.5 | Roof (slabs, beams, trusses) |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 6.6 | Foundation (ground beams/slabs, special foundations/piles) |  |  | + |  | + |  |  |  |  |
| 6.7 | Frames (formed of reinforced concrete, structural steel or timber) |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 6.8 | Lining (decorative or fire protection linings) |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 6.9 | Barriers – Fixed (pedestrian and vehicular barriers for public or vehicle protection) |  |  | Visual inspection |  | Annually |  |  |  |  |
|  |  |  |  | Detailed inspection |  | 5-yearly |  |  |  |  |
| 7.0 | Stairs and Ramps |  |  |  |  |  |  |  |  |  |
| 7.1 | Stairs, Handrails and Ramps |  |  | Routinely/continuously by Building Users* |  | Ongoing* |  |  |  |  |
|  |  |  |  | General inspection* |  | Annually* |  |  |  |  |
|  |  |  |  | Detailed inspection* |  | 5-yearly* |  |  |  |  |
| 8.0 | Cathodic Protection (CP) – Structural |  |  |  |  |  |  |  |  |  |
| 8.1 | All CP elements such as battery, monitoring devices, supply, software, rods (electrodes) |  |  | Test |  | Annually |  |  |  |  |
| 9.0 | Built in Furniture/Fittings |  |  |  |  |  |  |  |  |  |
| 9.1 | Mirrors |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.2 | Cupboards |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.3 | Shelving |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.4 | Counter Tops |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.5 | Cubicles |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.6 | Floor Mats |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.7 | Blinds |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.8 | Lockers |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.9 | Benches |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.10 | Post Boxes |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.11 | Screens |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.12 | Toilet Fittings |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.13 | Whiteboards |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.14 | Fencing |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.15 | Barriers |  |  | * Visual inspection |  | * |  |  |  |  |
| 9.16 | Safety Access |  |  | * Visual inspection |  | * |  |  |  |  |
| 10.0 | Specific Room Types |  |  |  |  |  |  |  |  |  |
| 10.1 | Kitchens |  |  | Routinely/continuously by Building Users* General inspection* (Yearly) Detailed inspection* (5 yearly) |  | * |  |  |  |  |
| 10.2 | Toilets |  |  |  |  |  |  |  |  |  |
| 10.3 | Common area including waiting areas |  |  |  |  |  |  |  |  |  |
| 10.4 | Meeting Rooms |  |  |  |  |  |  |  |  |  |
| 10.5 | Equipment Rooms |  |  |  |  |  |  |  |  |  |
| 10.6 | Any Other Rooms |  |  |  |  |  |  |  |  |  |
| 11.0 | Hard Landscaping |  |  | * Inspection |  | * |  |  |  |  |
| 12.0 | Drainage |  |  | * Inspection |  | * |  |  |  |  |
| 13.0 | Specific Planned Preventative Maintenance (PPM) Notes |  |  |  |  |  |  |  |  |  |
| * Task nature and frequency to be determined by site-specific risk assessment - depends inter alia upon materials, exposure and location. ** Statutory Requirement - Visual inspection ensuring that there is no damage to the door, intumescent strips, cold smoke seals and furniture. A working check to ensure that the self-closing device operates correctly. ***Statutory (Health, Safety & Welfare) Regulations usually includes doors and gates. Dependent on location and use may be considered work equipment and subject to Provision and Use of Work Equipment Regulations if applicable. **** Visual inspection to ensure that the compartmentation has not been breached. On completion of modification works by specialist contractors by permit to work system. + Part of foundation systems (underground). The accesses to foundations are not available in most buildings, however, any associated problems in visible components may trigger condition assessment and destructive/nondestructive inspections (Refer section 11.0). |  |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments |  |  |  | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  |  |  |  | Checker's Name/Signature and Date: |  |  |  |  |  |