| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A | YES |  | NO |
| - Drawing Presentation |  |  |  |  |  |  |  |  |  |  |
|  | Does Drawing comply with the project CAD Standards (All lines, symbols, legends, abbreviations, text, etc. is legible)? |  |  |  |  |  |  |  |  |  |
|  | Is the Drawing reviewed for constructability? |  |  |  |  |  |  |  |  |  |
|  | Is the layout read and interpreted in conjunction with the applicable Architectural, Civil, Electrical and Mechanical Layout? |  |  |  |  |  |  |  |  |  |
|  | Are the fields in the title block consistent with the project drawing log/ index? |  |  |  |  |  |  |  |  |  |
|  | Key plan and North arrow are provided & the key plan shall have the layout area hatched. |  |  |  |  |  |  |  |  |  |
|  | Match lines or X-Y Grid are clearly defined. |  |  |  |  |  |  |  |  |  |
|  | Drawing notes are complete & agree with information on the drawings & details. |  |  |  |  |  |  |  |  |  |
|  | Are the layout dimensions (mounting height, operating height of the outlets, devices, etc.) clearly defined? |  |  |  |  |  |  |  |  |  |
|  | Are the layout legends specific and provide the details regarding the type of the cable, and the detail of the devices, components, equipment’s, rack, etc.? |  |  |  |  |  |  |  |  |  |
|  | Bar scale is shown on the drawing and correct scale is used for all details, plan/elevation/sections. Details Not to Scale are also clearly marked. |  |  |  |  |  |  |  |  |  |
|  | All interdisciplinary comments and comments from previous revisions have been resolved and incorporated. Holds and revisions are correctly marked. |  |  |  |  |  |  |  |  |  |
|  | Limits of existing and new work including future expansions, interface points, Battery limits are clearly defined |  |  |  |  |  |  |  |  |  |
|  | Check if conduit continuations between drawings have been verified and properly identified. |  |  |  |  |  |  |  |  |  |
| - Code/Standard/Project Specification |  |  |  |  |  |  |  |  |  |  |
|  | The system design shall comply with the applicable Code, International and Saudi standard, local Government Regulation and Project Specification |  |  |  |  |  |  |  |  |  |
|  | The installation of the system shall be in accordance with NFPA, EIA/TIA, NEC, NEMA, BICSI, ETSI and other applicable standards. |  |  |  |  |  |  |  |  |  |
|  | Selection of the Equipment’s and components shall be UL Listed |  |  |  |  |  |  |  |  |  |
|  | Verify the equipment and components tag/identification numbers, dimensions, locations, etc., with project standards/vendor documents, as applicable code |  |  |  |  |  |  |  |  |  |
|  | Make sure that each type of connection/installation is represented either by standard details applicable for the project or details are drawn on the layout drawing. |  |  |  |  |  |  |  |  |  |
|  | The designing of the Audio Visual System comply with the design criteria. |  |  |  |  |  |  |  |  |  |
| - Reference Information |  |  |  |  |  |  |  |  |  |  |
|  | Check to ensure general notes include references to applicable Codes, Standards and Project Specifications/Supplier submittals. |  |  |  |  |  |  |  |  |  |
|  | Check for correctness of reference drawings. |  |  |  |  |  |  |  |  |  |
|  | List and verify any special requirements by others (Sub-Contractors, Vendors, etc.) |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of the wiring diagram? |  |  |  |  |  |  |  |  |  |
|  | Sections and details are correctly cross-referenced. |  |  |  |  |  |  |  |  |  |
|  | Have the layout specified the dedicated containment for Audio/¦Visual System? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide the detail of the containment route (both the horizontal and vertical)? |  |  |  |  |  |  |  |  |  |
| - Design |  |  |  |  |  |  |  |  |  |  |
|  | Have the technical feasibility of the equipment’s and components verified? |  |  |  |  |  |  |  |  |  |
|  | Do the selection and the location of peripheral devices, components, etc.as per the specialist recommendation and the project requirements? |  |  |  |  |  |  |  |  |  |
|  | Have the layout coordinated with the Architectural, Structural, Electrical and Mechanical System layout? |  |  |  |  |  |  |  |  |  |
|  | Do the designing of the system and the preparation of the layout as per IP Based System and interface with the Structured Cabling System? |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of related works such as Power, Raceways, structure cables, data network/LAN, etc.? |  |  |  |  |  |  |  |  |  |
|  | Does AV System design comprise the latest Audio Visual Technology? - Unified Communication Solution - Presentation System - Education Solution - Control Room Display solution - Council and legislation system |  |  |  |  |  |  |  |  |  |
|  | Does AV System selection of the components (Video and Sound System) and the equipment’s are as per the latest technology, specialist recommendation and the project requirements? |  |  |  |  |  |  |  |  |  |
|  | Does the system compatible to interfacing with the existing system (If, applicable)? |  |  |  |  |  |  |  |  |  |
|  | Does the AV System Design flexible to Various type of Rooms? |  |  |  |  |  |  |  |  |  |
|  | Does AV System design, the selection of the equipment’s and components, comprehensive and consisting of High quality, Video/Audio integration with media control, the flexibility to accommodate various uses of rooms and presentation? |  |  |  |  |  |  |  |  |  |
|  | Does the wiring diagram provides the details of power, signal and control system? |  |  |  |  |  |  |  |  |  |
|  | Does AV System Design facilitated with the provision of Video Conferencing Facilities? |  |  |  |  |  |  |  |  |  |
|  | Does the layout prepared and accordance with the manufacturer standards and product information? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide the installation details of the equipment and components? |  |  |  |  |  |  |  |  |  |
|  | Does the arrangement of the equipment ‘Rack Mountable’ inside the AV Closet or lecterns? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide both the technical and installation details of the Projection Unit? |  |  |  |  |  |  |  |  |  |
|  | Does AV System layout provide the details of the video screening / Projection Screening? |  |  |  |  |  |  |  |  |  |
|  | Does AV System Layout provided the details of the cable (Type and Make) and Raceway route? |  |  |  |  |  |  |  |  |  |
|  | Does AV System Layout provide the details of the Loud Speaker? |  |  |  |  |  |  |  |  |  |
|  | Does the system coordinated with HVAC system to ensure the sufficient cooling to maintain the operating temperature of the AV Racks? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provided the details of Display Devices? |  |  |  |  |  |  |  |  |  |
|  | Does the lighting design and illumination are as per the AV System requirements and Lighting Control through the AV System? |  |  |  |  |  |  |  |  |  |
| 49 | Have the system provided the provision or facilities to integrate with the ancillary system? |  |  |  |  |  |  |  |  |  |
| 50 | Does the system provided with provision to integrate with Access Control System, IP infrastructure and BMS System? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |