| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | General Installation |  |  |  |  |  |  |
|  | General appearance good and no apparent damage. |  |  |  |  |  |  |
|  | Equipment label affixed and matches the equipment tagging in the as-build drawing. |  |  |  |  |  |  |
|  | Capacity indicated in the nameplate matches the capacity (“from and at” rating or Boiler Hp) in the design and approved documents. |  |  |  |  |  |  |
|  | Space adequate for boiler tube pulling and cleaning. |  |  |  |  |  |  |
|  | Required seismic restrain in place. |  |  |  |  |  |  |
|  | Flue completely installed and horizontal piping sloped properly. |  |  |  |  |  |  |
|  | Combustion air supply complete. |  |  |  |  |  |  |
|  | System filled with water and lowest permissible water level marked. |  |  |  |  |  |  |
|  | Accessories such as pressure gauges, temperature gauges and P/T plugs installed as per drawing. |  |  |  |  |  |  |
|  | Multiple boiler interlock completed. |  |  |  |  |  |  |
|  | Room has sufficient ventilation system. |  |  |  |  |  |  |
|  | Piping and Accessories |  |  |  |  |  |  |
|  | Fuel piping installed and tested. |  |  |  |  |  |  |
|  | Hydronic piping completed and proven functioning including blow down system, make-up water piping and safety relief. |  |  |  |  |  |  |
|  | Hydronic system flushing completed and strainers cleaned. |  |  |  |  |  |  |
|  | Isolation valves, fuel stop valves, regulator and balancing valves installed. |  |  |  |  |  |  |
|  | Pipe fittings and accessories completed. |  |  |  |  |  |  |
|  | Bleed lines and relief lines available. |  |  |  |  |  |  |
|  | Test ports installed near all control sensors. |  |  |  |  |  |  |
|  | Flow switch and flow meter installed as required. |  |  |  |  |  |  |
|  | Piping type and flow direction labelled on piping. |  |  |  |  |  |  |
|  | Chemical treatment system installed. |  |  |  |  |  |  |
|  | ASME Pressure Vessel Data Sheet or certification tag posted in each expansion and pressure tank. |  |  |  |  |  |  |
|  | Expansion tank verified not air bounded and completely filled with water. |  |  |  |  |  |  |
|  | Air vents and bleeds at high points of system available. |  |  |  |  |  |  |
|  | Electrical and Controls |  |  |  |  |  |  |
|  | Power to the unit and disconnect available. |  |  |  |  |  |  |
|  | All electrical components grounded. |  |  |  |  |  |  |
|  | Sensors calibrated. |  |  |  |  |  |  |
|  | Control System interlocks hooked up and functional. |  |  |  |  |  |  |
|  | All control device, pneumatic tubing and wiring complete. |  |  |  |  |  |  |
|  | Motorized valves, dampers, and float switches functional. |  |  |  |  |  |  |
|  | Emergency shutdown switch, combustion air switch, fail switch and low fire switch available and functional. |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |