| Rating Scale |  |  | PRIORITY |  | Hazard Classification |  | Asset Name |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | Satisfactory | Dam condition is in good condition with no deficiencies | 1 | URGENT |  | VERY LOW | Asset Number |  |
| B | Fair | Dam condition is in fair condition but has some minor maintenance deficiencies | 2 | ESSENTIAL |  | LOW | Location |  |
| C | Poor | Dam condition is in Poor condition, and has multiple maintenance deficiencies | 3 | DESIRABLE |  | SIGNIFICANT | Inspection Date |  |
| D | Unsatisfactory | Dam condition is in an unsatisfactory condition and safety deficiency exists that requires prompt remedial action | 4 | LONG-TERM work |  | HIGH | Inspector |  |
| E | Not Rated | Inadequate information exists to make a condition assessment determination |  |  |  |  | General Asset Condition | ADEQUATE SUBSTANDARD INADEQUATE |

| Inspection Activity |  | CONDITION |  |  |  |  | Identified Defects/Recommended Action | Recommended Priority |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EMBANKMENT |  | A | B | C | D | E |  | 1 | 2 | 3 | 4 |
| A10 | CREST |  |  |  |  |  |  |  |  |  |  |
|  | Any visual settlements |  |  |  |  |  |  |  |  |  |  |
|  | Cracking |  |  |  |  |  |  |  |  |  |  |
|  | Lateral movement |  |  |  |  |  |  |  |  |  |  |
|  | Visible sinkhole |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Trees & brush |  |  |  |  |  |  |  |  |  |  |
|  | Rodent holes |  |  |  |  |  |  |  |  |  |  |
| A20 | UPSTREAM SLOPE |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Visual settlements |  |  |  |  |  |  |  |  |  |  |
|  | Longitudinal cracks |  |  |  |  |  |  |  |  |  |  |
|  | Transverse cracks |  |  |  |  |  |  |  |  |  |  |
|  | Visible sinkhole |  |  |  |  |  |  |  |  |  |  |
|  | Debris |  |  |  |  |  |  |  |  |  |  |
|  | Visual depression or bulges |  |  |  |  |  |  |  |  |  |  |
| B10 | DOWNSTREAM SLOPE |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Trees & brush |  |  |  |  |  |  |  |  |  |  |
|  | Longitudinal cracks |  |  |  |  |  |  |  |  |  |  |
|  | Transverse cracks |  |  |  |  |  |  |  |  |  |  |
|  | Visual depressions or bulges |  |  |  |  |  |  |  |  |  |  |
|  | Visible sinkhole |  |  |  |  |  |  |  |  |  |  |
|  | Visual settlements |  |  |  |  |  |  |  |  |  |  |
|  | Seepage present |  |  |  |  |  |  |  |  |  |  |
|  | Is the drain dry and are Boils present at toe? |  |  |  |  |  |  |  |  |  |  |
| B20 | ABUTMENT CONTACTS |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Visual differential movement |  |  |  |  |  |  |  |  |  |  |
|  | Cracks |  |  |  |  |  |  |  |  |  |  |
|  | Seepage present |  |  |  |  |  |  |  |  |  |  |
|  | Trees & brush |  |  |  |  |  |  |  |  |  |  |
| B30 | GROIN |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Visual differential movement |  |  |  |  |  |  |  |  |  |  |
|  | Cracks |  |  |  |  |  |  |  |  |  |  |
|  | Seepage present |  |  |  |  |  |  |  |  |  |  |
|  | Trees & brush |  |  |  |  |  |  |  |  |  |  |
| C10 | RESERVOIR CONTROL |  |  |  |  |  |  |  |  |  |  |
|  | Recent downstream development |  |  |  |  |  |  |  |  |  |  |
|  | Slides in reservoir area |  |  |  |  |  |  |  |  |  |  |
|  | Change in reservoir operation |  |  |  |  |  |  |  |  |  |  |
|  | Other large impoundments u/s |  |  |  |  |  |  |  |  |  |  |
|  | Evidence or recreational use |  |  |  |  |  |  |  |  |  |  |
| C20 | INSTRUMENTATION |  |  |  |  |  |  |  |  |  |  |
|  | List any instrumentation present |  |  |  |  |  |  |  |  |  |  |
|  | Is instrumentation functional? |  |  |  |  |  |  |  |  |  |  |
|  | Record measurements |  |  |  |  |  |  |  |  |  |  |
| EMBANKMENT SAFETY RATING: |  |  |  |  |  |  |  |  |  |  |  |
| EMBANKMENT |  |  |  |  |  |  |  |  |  |  |  |
| C30 | INTAKE STRUCTURE |  |  |  |  |  |  |  |  |  |  |
|  | a. Debris present |  |  |  |  |  |  |  |  |  |  |
|  | b. Concrete surface condition |  |  |  |  |  |  |  |  |  |  |
|  | Spalling |  |  |  |  |  |  |  |  |  |  |
|  | Cracking |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Scaling |  |  |  |  |  |  |  |  |  |  |
|  | Exposed reinforcement |  |  |  |  |  |  |  |  |  |  |
|  | Other |  |  |  |  |  |  |  |  |  |  |
|  | c. Joint condition |  |  |  |  |  |  |  |  |  |  |
|  | Displacement or offset |  |  |  |  |  |  |  |  |  |  |
|  | Loss of joint material |  |  |  |  |  |  |  |  |  |  |
|  | Leakage |  |  |  |  |  |  |  |  |  |  |
|  | d. Metal appurtenances |  |  |  |  |  |  |  |  |  |  |
|  | Corrosion present |  |  |  |  |  |  |  |  |  |  |
|  | Breakage present |  |  |  |  |  |  |  |  |  |  |
|  | Anchor system secure |  |  |  |  |  |  |  |  |  |  |
| D10 | CONDUIT |  |  |  |  |  |  |  |  |  |  |
|  | a. Debris present |  |  |  |  |  |  |  |  |  |  |
|  | b. Concrete surface condition |  |  |  |  |  |  |  |  |  |  |
|  | Spalling |  |  |  |  |  |  |  |  |  |  |
|  | Cracking |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Scaling |  |  |  |  |  |  |  |  |  |  |
|  | Leakage |  |  |  |  |  |  |  |  |  |  |
|  | Exposed reinforcement |  |  |  |  |  |  |  |  |  |  |
|  | Displacement or offset |  |  |  |  |  |  |  |  |  |  |
|  | c. Metal conduit condition |  |  |  |  |  |  |  |  |  |  |
|  | Corrosion present |  |  |  |  |  |  |  |  |  |  |
|  | Loss of joint material |  |  |  |  |  |  |  |  |  |  |
|  | Leakage |  |  |  |  |  |  |  |  |  |  |
|  | d. Metal appurtenances |  |  |  |  |  |  |  |  |  |  |
|  | Corrosion present |  |  |  |  |  |  |  |  |  |  |
|  | Protection coating adequacy |  |  |  |  |  |  |  |  |  |  |
|  | Leakage |  |  |  |  |  |  |  |  |  |  |
|  | e. Plastic conduit condition |  |  |  |  |  |  |  |  |  |  |
|  | Displacement or offset |  |  |  |  |  |  |  |  |  |  |
|  | Leakage |  |  |  |  |  |  |  |  |  |  |
|  | Broken |  |  |  |  |  |  |  |  |  |  |
| D20 | GATES |  |  |  |  |  |  |  |  |  |  |
|  | a. Flood gate condition |  |  |  |  |  |  |  |  |  |  |
|  | Broken or bent |  |  |  |  |  |  |  |  |  |  |
|  | Corroded or rusted |  |  |  |  |  |  |  |  |  |  |
|  | Regularly maintained |  |  |  |  |  |  |  |  |  |  |
|  | Gates operational |  |  |  |  |  |  |  |  |  |  |
|  | b. Is there a low-level gate? |  |  |  |  |  |  |  |  |  |  |
| EMERGENCY SPILLWAY or OUTLET WORKS |  |  |  |  |  |  |  |  |  |  |  |
| D30 | STILLING BASIN |  |  |  |  |  |  |  |  |  |  |
|  | a. Concrete surface condition |  |  |  |  |  |  |  |  |  |  |
|  | Spalling |  |  |  |  |  |  |  |  |  |  |
|  | Cracking |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Scaling |  |  |  |  |  |  |  |  |  |  |
|  | Exposed reinforcement |  |  |  |  |  |  |  |  |  |  |
|  | Other |  |  |  |  |  |  |  |  |  |  |
|  | b. Joint condition |  |  |  |  |  |  |  |  |  |  |
|  | Displacement or offset |  |  |  |  |  |  |  |  |  |  |
|  | Loss of joint material |  |  |  |  |  |  |  |  |  |  |
|  | Leakage |  |  |  |  |  |  |  |  |  |  |
|  | c. Energy dissipater condition |  |  |  |  |  |  |  |  |  |  |
|  | Deterioration |  |  |  |  |  |  |  |  |  |  |
|  | d. Channel condition |  |  |  |  |  |  |  |  |  |  |
|  | Eroding or back-cutting |  |  |  |  |  |  |  |  |  |  |
|  | Sloughing |  |  |  |  |  |  |  |  |  |  |
|  | Obstructed |  |  |  |  |  |  |  |  |  |  |
|  | Undercut by released water |  |  |  |  |  |  |  |  |  |  |
|  | Embankment erosion by water |  |  |  |  |  |  |  |  |  |  |
|  | e. Gabion Condition |  |  |  |  |  |  |  |  |  |  |
|  | Corroded |  |  |  |  |  |  |  |  |  |  |
|  | Deterioration |  |  |  |  |  |  |  |  |  |  |
|  | Basket misaligned |  |  |  |  |  |  |  |  |  |  |
|  | Basket settlement |  |  |  |  |  |  |  |  |  |  |
|  | Brush growing in gabions |  |  |  |  |  |  |  |  |  |  |
|  | f. Riprap condition |  |  |  |  |  |  |  |  |  |  |
|  | Erosion undercut or settlement |  |  |  |  |  |  |  |  |  |  |
|  | Vegetation |  |  |  |  |  |  |  |  |  |  |
|  | Extent of riprap adequacy |  |  |  |  |  |  |  |  |  |  |
| D40 | SPILLWAY or OUTLET WORKS |  |  |  |  |  |  |  |  |  |  |
|  | a. Spillway concrete condition |  |  |  |  |  |  |  |  |  |  |
|  | Spalling |  |  |  |  |  |  |  |  |  |  |
|  | Cracking |  |  |  |  |  |  |  |  |  |  |
|  | Erosion |  |  |  |  |  |  |  |  |  |  |
|  | Scaling |  |  |  |  |  |  |  |  |  |  |
|  | Exposed reinforcement |  |  |  |  |  |  |  |  |  |  |
|  | Other |  |  |  |  |  |  |  |  |  |  |
|  | b. Joint condition |  |  |  |  |  |  |  |  |  |  |
|  | Displacement or offset |  |  |  |  |  |  |  |  |  |  |
|  | Loss of joint material |  |  |  |  |  |  |  |  |  |  |
|  | Leakage |  |  |  |  |  |  |  |  |  |  |
|  | c. Energy dissipater condition |  |  |  |  |  |  |  |  |  |  |
|  | Deterioration |  |  |  |  |  |  |  |  |  |  |
|  | Signs of deterioration |  |  |  |  |  |  |  |  |  |  |
|  | Covered with debris |  |  |  |  |  |  |  |  |  |  |
|  | Riprap dissipater |  |  |  |  |  |  |  |  |  |  |
|  | Missing |  |  |  |  |  |  |  |  |  |  |
|  | d. Excavated earth spillway condition |  |  |  |  |  |  |  |  |  |  |
|  | Slopes eroding |  |  |  |  |  |  |  |  |  |  |
|  | Slopes sloughing |  |  |  |  |  |  |  |  |  |  |
|  | Head-cutting |  |  |  |  |  |  |  |  |  |  |
|  | Trees and brush — obstructed |  |  |  |  |  |  |  |  |  |  |
|  | e. Natural earth spillway condition |  |  |  |  |  |  |  |  |  |  |
|  | Slopes eroding |  |  |  |  |  |  |  |  |  |  |
|  | Slopes sloughing |  |  |  |  |  |  |  |  |  |  |
|  | f. Damage from released water |  |  |  |  |  |  |  |  |  |  |
|  | Eroded embankment |  |  |  |  |  |  |  |  |  |  |
|  | Undercutting of outlet |  |  |  |  |  |  |  |  |  |  |
|  | Recent discharge |  |  |  |  |  |  |  |  |  |  |
|  | Other damage, list |  |  |  |  |  |  |  |  |  |  |
|  | g. Is weir in good condition? |  |  |  |  |  |  |  |  |  |  |