| ENTITY |  | EQUIPMENT NO.: |  |
| --- | --- | --- | --- |
| PROJECT TITLE: |  | P.O. NO.: |  |
| PROJECT LOCATION: |  | UNIT: |  |

| Line No. | DESCRIPTION |  | UNITS | SPECIFIED | BIDDER'S PROPOSAL |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1.0 | SITE CONDITIONS |  |  |  |  |  |
| 1.1 | Altitude |  | m |  |  |  |
| 1.2 | Average Ambient Temperature |  | oC |  |  |  |
| 1.3 | Minimum Ambient Temperature |  | oC |  |  |  |
| 1.4 | Maximum Ambient Temperature |  | oC |  |  |  |
| 1.5 | Extreme Maximum Ambient Temperature |  | oC |  |  |  |
| 1.6 | Extreme Minimum Ambient Temperature |  | oC |  |  |  |
| 1.7 | Gas Ignition Temperature |  | oC |  |  |  |
| 1.8 | Hazardous / Non - Hazardous |  |  |  |  |  |
| 1.9 | Seismic Zone |  |  |  |  |  |
| 1.10 | Seismic Load |  |  |  |  |  |
| 1.11 | Over Pressure Design per |  |  |  |  |  |
| 1.12 | Sun-Metal Design Temperature |  | oC |  |  |  |
| 1.13 | Electrical Equipment Design Ambient Temperature |  | oC |  |  |  |
| 1.14 | Relative Humidity |  | % |  |  |  |
| 1.15 | Wind Speed Design |  |  |  |  |  |
| 1.16 | Importance Levels |  |  |  |  |  |
| 2.0 | CODES AND STANDARDS |  |  |  |  |  |
| 2.1 | Compliance to Codes and Standards |  |  |  |  |  |
| 2.2 | Compliance to Project Specifications |  |  |  |  |  |
| 2.3 | Compliance to Prefabricated Substation Specification |  |  |  |  |  |
| 3.0 | SERVICE CONDITIONS |  |  |  |  |  |
| 3.1 | Design Temperature for Electrical Equipment Outdoors |  | ºC |  |  |  |
| 3.2 | Design Lifecycle - Minimum |  | Years |  |  |  |
| 3.3 | Vendor Supplied Equipment Installed Indoors |  |  |  |  |  |
| 3.4 | Hazardous Area Zone, Gas Group and Temperature Class |  |  |  |  |  |
| 3.5 | Hazardous Equipment Certification |  |  |  |  |  |
| 3.6 | Design Operating Ambient Temperature |  | ºC |  |  |  |
| 4.0 | GENERAL |  |  |  |  |  |
| 4.1 | Expandable Substation |  |  |  |  |  |
| 4.2 | Building IP Rating |  |  |  |  |  |
| 4.3 | All Openings Required to be Vermin Proof |  |  |  |  |  |
| 4.4 | Working Clearances per |  |  |  |  |  |
| 4.5 | Install Arc Flash Plenums (Exhaust Ducts) |  |  |  |  |  |
| 4.6 | Lightning Protection |  |  |  |  |  |
| 5.0 | DESIGN LOADING - STRUCTURAL DESIGN CRITERIA |  |  |  |  |  |
| 5.1 | Compliance with Structural Design Criteria |  |  |  |  |  |
| 5.2 | Maximum Building Shipping Height and Weight |  |  |  |  |  |
| 5.3 | Wind Load |  |  |  |  |  |
| 5.4 | Professional Engineers Stamp |  |  |  |  |  |
| 5.5 | Roof Designed for Live Load Support |  | kPa |  |  |  |
| 5.6 | Concentrated Load Anywhere on the Roof |  | kg |  |  |  |
| 5.7 | Roof Framing Members Designed to Support Cable Ladder of Maximum Loading |  | kg/m |  |  |  |
| 5.8 | Base Designed for Uniformly Distributed Live Load |  | kPa |  |  |  |
| 5.9 | Floor Deflection no Greater than |  | mm |  |  |  |
| 5.10 | Blast Resistant Design |  |  |  |  |  |
| 5.11 | Blast Impulse Rating |  |  |  |  |  |
| 6.0 | WALLS AND ROOF |  |  |  |  |  |
| 6.1 | Interlocking Panels - Walls & Roof Minimum Thickness |  | mm |  |  |  |
| 6.2 | Inner Liner Minimum Thickness |  | mm |  |  |  |
| 6.3 | Insulation Minimum R Value - Roof |  | m2 -K/W |  |  |  |
| 6.4 | Insulation Minimum R Value - Walls |  | m2 -K/W |  |  |  |
| 6.5 | Insulation Minimum R Value - Floor |  | m2 -K/W |  |  |  |
| 6.6 | Roof Slope |  | mm / mm |  |  |  |
| 6.7 | Type of Sealant to be Used |  |  |  |  |  |
| 6.8 | Minimum Service Life of the Sealant |  | years |  |  |  |
| 6.9 | Platform, landing, stairs, etc., as per specifications listed |  |  |  |  |  |
| 6.10 | Fire Rated Walls |  |  |  |  |  |
| 6.11 | Access to the Roof by Ladders |  |  |  |  |  |
| 7.0 | SUBSTRUCTURE |  |  |  |  |  |
| 7.1 | Minimum Number of Lifting Eyes |  |  |  |  |  |
| 7.2 | Sprayed Foam Polyurethane Minimum Thickness |  | mm |  |  |  |
| 7.3 | Insulation minimum R Value - Substructure |  | m2 -K/W |  |  |  |
| 7.4 | Flame Resistant Coating Minimum Thickness |  | microns |  |  |  |
| 7.5 | Flame Resistant Coating Type |  |  |  |  |  |
| 8.0 |  |  | FLOOR |  |  |  |
| 8.1 |  |  | Minimum Floor Thickness | mm |  |  |
| 8.2 |  |  | Floor Grade |  |  |  |
| 8.3 |  |  | Non Slip Surface Covered with |  |  |  |
| 8.4 |  |  | Raised Floor for Control and Telecommunications Equipment Room |  |  |  |
| 8.5 |  |  | Raised Floor Height | mm |  |  |
| 8.6 |  |  | Floor Mats |  |  |  |
| 9.0 |  |  | DOORS |  |  |  |
| 9.1 |  |  | Galvanized Seamless Steel Thickness | mm |  |  |
| 9.2 |  |  | Door Minimum Width x Height x Thickness | m |  |  |
| 9.3 |  |  | Equipment Door Minimum Width x Height x Thickness | m |  |  |
| 9.4 |  |  | Identical Door Key Copies for each Door Lock |  |  |  |
| 9.5 |  |  | Rough-in Conduit and Box for Security Card Access |  |  |  |
| 10.0 |  |  | LANDINGS AND STAIRS |  |  |  |
| 10.1 |  |  | Stairways Minimum Width | m |  |  |
| 10.2 |  |  | Minimum Width Clearance Between Door and Handrails with Door Open | mm |  |  |
| 11.0 |  |  | PENETRATIONS |  |  |  |
| 11.1 |  |  | LV Switchgear/MCC Cable Entrances Underneath Substation Floor by Utilizing Cable Gland Boxes |  |  |  |
| 11.2 |  |  | Gland Plates for Floor Opening Minimum Thickness | mm |  |  |
| 11.3 |  |  | Gland Plates Material |  |  |  |
| 11.4 |  |  | Wall Penetrations Material |  |  |  |
| 12.0 |  |  | LIGHTING, POWER AND EARTHING |  |  |  |
| 12.1 |  |  | Nominal Voltage for High Voltage Distribution | kV |  |  |
| 12.2 |  |  | Nominal Voltage for 3-Phase Low Voltage Distribution | V |  |  |
| 12.3 |  |  | Nominal Voltage for 1-Phase Low Voltage Distribution | V |  |  |
| 12.4 |  |  | Earthing Method in Low Voltage System |  |  |  |
| 12.5 |  |  | Nominal Voltage for AC UPS Distribution | V |  |  |
| 12.6 |  |  | Nominal Voltage for DC Supply | V |  |  |
| 12.7 |  |  | Elevation of Fluorescent Luminaires | m |  |  |
| 12.8 |  |  | Length of Each Fluorescent Luminaire | m |  |  |
| 12.9 |  |  | Number of Lamps in Each Fluorescent Luminaire |  |  |  |
| 12.10 |  |  | Fluorescent Fixture - Output of Electronic Ballast | mA |  |  |
| 12.11 |  |  | Fluorescent Fixture - Maximum Allowable Total Current Harmonic Distortion | % |  |  |
| 12.12 |  |  | Building Lighting System Illumination Level at the Floor - Mean Maintained Horizontal Lux | Lux |  |  |
| 12.13 |  |  | Building Lighting System Maintenance Factor Used for Calculation of Illuminances |  |  |  |
| 12.14 |  |  | Photocell Controller Enclosure IP Rating |  |  |  |
| 12.15 |  |  | Exterior Lighting Fixtures Wattage | W |  |  |
| 12.16 |  |  | Exterior Lighting Fixtures Hazardous Area Classification |  |  |  |
| 12.17 |  |  | Fixtures on Battery Power - Battery Backup Time | min |  |  |
| 12.18 |  |  | Fixtures on Battery Power - Capability of the Fixture in Terms of Percentage of Full Luminance After Specified Battery Backup Time | % |  |  |
| 12.19 |  |  | Wall Bracket Luminaire on the Exterior Wall of Egress Door - Elevation | m |  |  |
| 12.20 |  |  | Wall Bracket Luminaire on the Exterior Wall of Egress Door - Hazardous Area Classification |  |  |  |
| 12.21 |  |  | Ampacity of Each Socket Outlet | Amps |  |  |
| 12.22 |  |  | Minimum Conductor Size for Power Circuits | mm2 |  |  |
| 12.23 |  |  | Minimum Conductor Size for Lighting Circuits | mm2 |  |  |
| 12.24 |  |  | Minimum Earth Wire Size | mm2 |  |  |
| 12.25 |  |  | Earth Wire Voltage Rating | V |  |  |
| 12.26 |  |  | Multi-Conductor Control Cable Minimum Conductor Size | mm2 |  |  |
| 12.27 |  |  | Analogue Signal Minimum Wire Size | mm2 |  |  |
| 12.28 |  |  | Analogue Signal Conductor Temperature | ºC |  |  |
| 12.29 |  |  | Analogue Signal Cable Armor Type |  |  |  |
| 12.30 |  |  | Minimum Ampacity of Two Pole RCD Circuit Breakers | Amps |  |  |
| 12.31 |  |  | Percentage of Spare Breakers in Building Panelboards | % |  |  |
| 12.32 |  |  | Separation Between Cables of Different Voltage Level | mm |  |  |
| 12.33 |  |  | Separation Between Power and Instrumentation Cables - Running in Parallel | mm |  |  |
| 12.34 |  |  | Separation Between Power and Instrumentation Cables - Running at Right Angle | mm |  |  |
| 12.35 |  |  | Space for Future Cables in Cable Ladders | % |  |  |
| 12.36 |  |  | Number of Stainless Steel Ground Pads |  |  |  |
| 12.37 |  |  | Stainless Steel Ground Pad Compression Lug Size | mm2 |  |  |
| 12.38 |  |  | Minimum Dimensions of Building Grounding Copper Bars - Width x Height | mm |  |  |
| 12.39 |  |  | Minimum Dimensions of Isolated Instrument Ground Copper Bars - Width x Height | mm |  |  |

| Line No. | DESCRIPTION | UNITS | SPECIFIED | BIDDER'S PROPOSAL |
| --- | --- | --- | --- | --- |
| 13.0 | HVAC AND PRESSURIZATION |  |  |  |
| 13.1 | HVAC System Type - Multiple Wall Mounted Units, or Skid Mounted Package, or Split Units |  |  |  |
| 13.2 | Redundancy - N + 1, or 2 x 100%, or 3 x 50%, or Other |  |  |  |
| 13.3 | Inside Temperature for HVAC Sizing | oC |  |  |
| 13.4 | Outside Temperature for HVAC Sizing | oC |  |  |
| 13.5 | Pressurization for HVAC Sizing | air/iron |  |  |
| 13.6 | HVAC Calculations |  |  |  |
| 13.7 | HVAC Design as per |  |  |  |
| 13.8 | Loss of Building Pressurization Alarm |  |  |  |
| 13.9 | Hydrogen Gas Detectors |  |  |  |
| 13.10 | Combustion Gas Detectors |  |  |  |
| 14.0 | ADDITIONAL HVAC AND PRESSURIZATION REQUIREMENTS IN CLASSIFIED AREAS |  |  |  |
| 14.1 | Air Lock |  |  |  |
| 14.2 | HVAC Design as per |  |  |  |
| 15.0 | FIRE PROTECTION AND SAFETY AND FIRE AND GAS DETECTION SYSTEMS |  |  |  |
| 15.1 | Fire Protection and Safety and Fire and Gas Detection Systems Design as per |  |  |  |
| 15.2 | Hydrogen Gas Detectors |  |  |  |
| 15.3 | Fixed Clean Agent Fire Extinguishing System |  |  |  |
| 16.0 | BATTERIES AND BATTERY ROOM |  |  |  |
| 16.1 | Hazardous Area Zone, Gas Group and Temperature Class |  |  |  |
| 16.2 | Safety Eye Wash |  |  |  |
| 16.3 | Hydrogen Gas Detectors |  |  |  |
| 17.0 | PAINTING AND COATING |  |  |  |
| 17.1 | Epoxy Coating for Exposed Base and Wall Supports |  |  |  |
| 17.2 | Roof and Walls Paint Type - Exterior |  |  |  |
| 17.3 | Roof and Walls Paint Type - Interior |  |  |  |
| 17.4 | Floor Paint Type |  |  |  |
| 17.5 | Touch Spare Paint for Each Color | L |  |  |
| 17.6 | Anti-corrosion Guarantee | years |  |  |
| 18.0 | MISCELLANEOUS |  |  |  |
| 18.1 | Lightning Protection per |  |  |  |
| 18.2 | Lightning Protection Calculations by Vendor |  |  |  |
| 18.3 | Lightning Protection Equipment by Vendor |  |  |  |