| Inspection Date: Location: Route: Mile Post: |  | Inspection Name: Inspection Type: Routine Follow up |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Rare Condition as: |  |  |  |  |  |  |  |  |
| Good |  | Good condition, no corrective action required |  |  |  |  |  |  |
| Fair |  | Fair condition but still functional. Follow-up based upon prioritization ranking |  |  |  |  |  |  |
| Poor |  | Poor condition, needing maintenance, repair and/or replacement |  |  |  |  |  |  |
|  |  | Blank Photo was taken |  |  |  |  |  |  |
| No. | INSPECTION ITEM | Task |  |  |  |  |  |  |
|  |  |  |  | Good | Fair | Poor |  |  |
| 1 | Grate, Cover | Inspect for sediment, debris or trash collected around the inlet structure |  |  |  |  |  |  |
| 2 | Collection Sump | Sediment accumulation should not exceed 60% of the sump |  |  |  |  |  |  |
| 3 | Inlet and Outlet Pipes | Inlet and outlet pipes within the sump should be free of obstructions |  |  |  |  |  |  |
| 4 | LIST ANY OBSERVATIONS |  |  |  |  |  |  |  |
| 5 | LIST COMMENTS/RECOMMENDATIONS/ CORRECTIVE/FOLLOW UP ACTIONS |  |  |  |  |  |  |  |
| 6 | SPECIFIC PM NOTES |  |  |  |  |  |  |  |
| 6.1 | Maintenance crews should be prepared to identify erosion, remove accumulated sediment, remove any accumulated trash or debris and repair damaged covers or inlets |  |  |  |  |  |  |  |
| 6.2 | The area surrounding the manhole should be observed for signs of weakness in the pavement or surrounding area |  |  |  |  |  |  |  |
| 6.3 | Material within inlet or outlet pipes may indicate blockage within the pipe that may require additional maintenance |  |  |  |  |  |  |  |
| 6.4 | If emergency maintenance needs are identified, the inspector should either correct the problem or contact the maintenance manager |  |  |  |  |  |  |  |
| 6.5 | A follow-up inspection should be conducted to verify that actions have been taken and needs have been addressed. Document on Checklist. |  |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |  |