NOTE:

1 – This matrix is a guide representation only and should not be treated as a true illustration of the designated system categories or inclusion elements such as compliance, standard, regulatory, manufacturer and best practice.

2 – This matrix is not a final and comprehensive table and requires further development in line with the facilities electrical system assets.

| Description |  |  | System Equipment Category |  |  |  |  | Type of PPM included in plan |  |  |  |  |  | Compliant to |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System | Sub-System | Equipment | Life safety | Critical | Essential | Utility | Non-Essential | Compliance | Standard | Regulatory | Manufacturer | Best Practice | KSA / NFPA / HTM etc. |  |
| High voltage | Transformer | Cabling | X | X |  |  |  |  | X |  | X | X | NFPA /KSA |  |
|  | Transformer | Oil | X | X |  |  |  |  | X |  | X | X | NFPA /KSA |  |
|  | Transformer | Earthing | X | X |  |  |  |  | X |  | X | X | NFPA /KSA |  |
|  | Transformer | Porcelain Isolators | X | X |  |  |  | X | X |  | X | X | NFPA /KSA |  |
|  | Transformer Cable Containment | Cable Pit / overhead infrastructure | X | X |  |  |  |  | X |  |  | X | NFPA |  |
|  | Transformer Area | Cage | X | X |  |  |  |  | X | X |  | X | NFPA |  |
|  | Transformer Area | Earthing | X | X |  |  |  |  | X | X |  | X | NFPA /KSA |  |
|  | Transformer Area | Fire suppression | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | Transformer Area | Fire detection | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | Transformer Area | Emergency lighting | X |  |  |  |  | X | X | X | X | X | NFPA |  |
| Medium Voltage | Transformer | Cabling | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | Transformer | Oil | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | Transformer | Earthing | X | X | X | X | X |  | X | X |  | X | NFPA |  |
|  | Transformer Room | Fire suppression | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | Transformer Room | Fire detection | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | Transformer Room | Emergency lighting | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | Transformer Room | Earthing | X | X | X | X | X |  | X | X |  | X | NFPA |  |
| Low Voltage | MDB | Cabling | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | MDB | Earthing | X | X | X | X | X |  | X | X |  | X | NFPA |  |
|  | MDB | Circuit Breakers | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | MDB | Bus Couplers | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | MDB | Control Panels | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | MDB Room | Fire suppression | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | MDB Room | Fire detection | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | MDB Room | Emergency lighting | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | MDB Room | Earthing | X | X | X | X | X |  | X | X |  | X | NFPA |  |
|  | SMDB | Cabling | X | X | X | X | X |  | X | X |  | X | NFPA |  |
|  | SMDB | Earthing | X | X | X | X | X |  | X | X |  | X | NFPA |  |
|  | SMDB | Circuit Breakers | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | SMDB Room | Fire suppression | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | SMDB Room | Fire detection | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | SMDB Room | Emergency lighting | X |  |  |  |  | X | X | X |  | X | NFPA /KSA |  |
|  | SMDB Room | Earthing | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | DB | Cabling | X | X | X | X | X |  | X | X |  | X | NFPA |  |
|  | DB | Earthing | X | X | X | X | X |  | X | X |  | X | NFPA |  |
|  | DB | Circuit Breakers | X | X | X | X | X |  | X | X | X | X | NFPA |  |
|  | DB Area | Fire suppression | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | DB Area | Fire detection | X |  |  |  |  | X | X | X | X | X | NFPA /KSA |  |
|  | DB Area | Emergency lighting | X |  |  |  |  | X | X | X |  | X | NFPA /KSA |  |