NOTE:

1/ This matrix is a guide representation only and should not be replicated as a true illustration of the designated system categories or inclusion elements such as compliance, standard, regulatory, manufacturer and best practice.

2/ This matrix is not a final and comprehensive table and requires further development in line with the facilities electrical system assets.

| Description |  |  |  |  | Type of PPM included in plan |  |  |  |  | Compliant to |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System | Sub-System | Equipment | Essential | Non-Essential | Compliance | Standard | Regulatory | Manufacturer | Best Practice | KSA / NFPA / HTM etc. |
| Medium Voltage | Transformer | Cabling | X | X |  | X | X | X | X | NFPA |
|  | Transformer | Oil | X | X |  | X | X | X | X | NFPA |
|  | Transformer | Earthing | X | X |  | X | X |  | X | NFPA |
| Low Voltage | MDB | Cabling | X | X |  | X | X |  | X | NFPA |
|  | MDB | Earthing | X | X |  | X | X |  | X | NFPA |
|  | MDB | Circuit Breakers | X | X |  | X | X | X | X | NFPA |
|  | MDB | Switch Disconnectors | X | X |  | X | X | X | X | NFPA |
|  | SMFP | Cabling | X | X |  | X | X |  | X | NFPA |
|  | SMFP | Earthing | X | X |  | X | X |  | X | NFPA |
|  | SMFP | BS88 Fuse Carriers | X | X |  | X | X | X | X | NFPA |
|  | SMFP | Disconnectors | X | X |  | X | X | X | X | NFPA |
|  | DFP | Cabling | X | X |  | X | X |  | X | NFPA |
|  | DFP | Earthing | X | X |  | X | X |  | X | NFPA |
|  | DFP | BS88 Fuse Carriers | X | X |  | X | X | X | X | NFPA |
|  | DFP | Disconnectors | X | X |  | X | X | X | X | NFPA |
|  | Lighting Pole | Cabling | X | X |  | X | X | X | X | NFPA |
|  | Lighting Pole | Earthing | X | X |  | X | X |  | X | NFPA |
|  | Lighting Pole | BS88 Fuse Carriers | X | X |  | X | X | X | X | NFPA |
|  | Lighting Pole | Lighting Heads | X | X |  | X | X | X | X | NFPA |
| ELV | Cabinets | Cabling | X |  |  | X | X |  | X | NFPA |
|  | Cabinets | Earthing | X |  |  | X | X |  | X | NFPA |
|  | Cabinets Circuit Breakers X X X X X | Circuit Breakers X X X X | X |  |  | X | X | X | X | NFPA |