| Fire Door yearly maintenance plan (EXAMPLE) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FIRE DOOR yearly maintenance plan example (insert "X" into cell as appropriate) |  |  |  |  |  |  |  |  |
| Asset No/Tag | MONTH | WEEKLY Inspection | MONTHLY Fire system integrated | QUARTERLY Life Safety cause & effect integrated testing | BIANNUAL Fire system integrated | ANNUAL Life Safety cause & effect integrated testing | Expand as Required |  |
| Fire Door 1 | 1 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 2 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 3 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  |  | x |  |  |  |  |
| Fire Door 1 | 4 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 5 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 6 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  |  |  | x |  |  |  |
| Fire Door 1 | 7 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 8 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 9 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  |  | x |  |  |  |  |
| Fire Door 1 | 10 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 11 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  | x |  |  |  |  |  |
| Fire Door 1 | 12 | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  | x |  |  |  |  |  |  |
|  |  |  |  |  |  | x |  |  |
| YEARLY TOTAL PM's FOR ASSET FIRE DOOR 1 |  | WEEKLY | MONTHLY | QUARTERLY | BIANNUAL | ANNUAL | XXXX |  |
|  |  | 36 | 8 | 2 | 1 | 1 | 0 |  |
| TOTAL FACILITY FIRE DOOR ASSETS |  | 500 |  |  |  |  |  |  |
| YEARLY TOTAL PM's FOR FIRE DOOR 500 ASSETS |  | WEEKLY | MONTHLY | QUARTERLY | BIANNUAL | ANNUAL | XXXX | TOTAL FIRE DOOR PM TASK's PER YEAR |
|  |  | 18,000 | 4,000 | 1000 | 500 | 500 | 0 | 24,000 |

Attachment 1 continued

| Fire Door yearly maintenance plan (EXAMPLE) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Last revision date: 10/05/2021 |  |  |  |  |  |  |  |  |
| FIRE DOOR yearly maintenance plan example (insert "X" into cell as appropriate) |  |  |  |  |  |  |  |  |
| Asset No/Tag | MONTH | WEEKLY Inspection | MONTHLY Fire system integrated | QUARTERLY Life Safety cause & effect integrated testing | BIANNUAL Fire system integrated | ANNUAL Life Safety cause & effect integrated testing | Expand as Required |  |
| Fire Door 1 | 1 |  |  |  |  |  |  |  |
| Fire Door 1 | 2 |  |  |  |  |  |  |  |
| Fire Door 1 | 3 |  |  |  |  |  |  |  |
| Fire Door 1 | 4 |  |  |  |  |  |  |  |
| Fire Door 1 | 5 |  |  |  |  |  |  |  |
| Fire Door 1 | 6 |  |  |  |  |  |  |  |
| Fire Door 1 | 7 |  |  |  |  |  |  |  |
| Fire Door 1 | 8 |  |  |  |  |  |  |  |
| Fire Door 1 | 9 |  |  |  |  |  |  |  |
| Fire Door 1 | 10 |  |  |  |  |  |  |  |
| Fire Door 1 | 11 |  |  |  |  |  |  |  |
| Fire Door 1 | 12 |  |  |  |  |  |  |  |
| YEARLY TOTAL PM's FOR ASSET FIRE DOOR 1 |  | WEEKLY | MONTHLY | QUARTERLY | BIANNUAL | ANNUAL | XXXX |  |
|  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |
| TOTAL FACILITY FIRE DOOR ASSETS |  | 000 |  |  |  |  |  |  |
| YEARLY TOTAL PM's FOR FIRE DOOR 000 ASSETS |  | WEEKLY | MONTHLY | QUARTERLY | BIANNUAL | ANNUAL | XXXX | TOTAL FIRE DOOR PM TASK's PER YEAR |
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 24,000 |