NOTE:

- This matrix is a guide representation only and should not be replicated as a true illustration of the designated system categories or inclusion elements such as compliance, standard, regulatory, manufacturer, and best practice

- This matrix is not a final and comprehensive table and requires further development in line with the facilities HVAC system assets

| Description |  |  | System Equipment Category |  |  |  |  | Type of PPM included in Plan |  |  |  |  | Compliant to |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ME Systems | Sub-System | Equipment | Life Safety | Critical | Essential | Utility | Non-Essential | Compliance | Standard | Regulatory | Manufacturer | Best Practice | NFPA/HTM |
| HVAC System | Central Heating and Cooling | Direct Expansion (DX) |  |  | X |  |  | X | X | X | X | X |  |
|  | Air Distribution System | Variable-Refrigerant Flow (VRF) |  |  | X |  |  | X | X | X | X | X |  |
| X | DX Units | Variable Air Volume (VAV) |  |  | X |  |  | X | X | X | X | X |  |
| X | Split Units Cassettes | Constant Air Volume (CAV) |  | X | X |  |  |  | X | X |  | X |  |
| X |  | Roof Top Units |  | X | X |  |  |  | X | X |  | X |  |
| X |  | Air Handling Units |  | X | X |  |  |  | X | X |  | X |  |
| X |  | Fan Coil Units |  | X | X |  |  |  | X | X | X | X |  |
| X |  | Hybrid Heat Pump |  |  |  |  |  | X | X | X | X | X |  |
|  |  | Local Exhaust Ventilation (LEV) | X | X |  |  |  | X | X | X | X | X |  |
| Chiller Plant | Cooling Towers | Automatic Dosing Systems |  |  | X |  |  | X | X |  | X |  |  |
| Air Cooled | Compressor | Pumps |  |  | X |  |  | X | X |  | X |  |  |
| Water Cooled | Evaporators | Pressurization Unit |  |  | X |  |  | X | X |  |  | X |  |
|  | Condensers | Control Panels |  |  | X |  |  | X | X |  |  | X |  |
|  | Refrigerants | Control Valves |  |  | X |  |  | X |  | X |  | X |  |
|  | Heat Recovery Systems | Bypass Valves |  |  | X |  |  |  |  | X |  | X |  |
|  | Hydronic DIS systems |  |  |  | x |  |  |  |  | X |  | X |  |
|  | Heat Exchangers |  |  |  |  | X |  |  |  |  |  |  |  |
| Water Treatment | Chilled Water | Automatic Dosing Systems |  | X |  |  |  |  | X |  | X | X |  |
|  | Cooling Tower | Automatic Controllers |  | X |  |  |  |  | X |  | X | X |  |
|  | Steam Boiler | Carbon Filters |  | X |  |  |  |  | X | X |  | X |  |
| ME Systems | Sub-System | Equipment | Life Safety | Critical | Essential | Utility | Non-Essential | Compliance | Standard | Regulatory | Manufacturer | Best Practice | NFPA/HTM |
|  | Sewage Treatment Plant | Air Blowers |  |  |  | X |  |  | X | X | X | X |  |
|  | MTHW Water Supply | Valves |  | X |  |  |  | X | X | X | X | X |  |
|  | Water Heater | Isolation Valves |  |  | X |  |  | X | X | X | X | X |  |
|  | All types of Pumps | Butterfly Valves |  |  |  | X | X |  | X | X |  | X |  |
| Life safety S/M | FM200 | Smoke Dampers | X | X |  |  |  | X | X | X | X | X |  |
|  | Fire Alarm | Fire Pumps | X | X |  |  |  | X | X | X |  | X |  |
|  |  | Pressure Extract Fans | X | X |  |  |  | X | X | X | X | X |  |