| Required Maintenance Item | Earthwork | Riprap | Vegetation Removal | Chute/Iong./toe drains | D/S Rock Toe | Piping Issues | Monitoring Grass Turfing | Seepage Issues | Livestock damage | Rodent damage | Vehicular traffic damage | Mechanical equipment | Electrical equipment | Cleaning | Concrete/ Masonry | Metal components |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Earth fill / Rock fill Embankment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Upstream slope | ● | ● | ● |  |  | ● |  |  | ● | ● |  |  |  | ● |  |  |
| Downstream slope | ● |  | ● | ● | ● | ● | ● | ● | ● | ● | ● |  |  | ● |  |  |
| Left/right abutments | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● |  |  |  |  |  |
| Crest (Dam Top) | ● |  | ● |  |  | ● |  |  | ● | ● | ● |  |  | ● | ● |  |
| Area D/s of Dam | ● |  |  |  |  | ● |  | ● |  |  |  |  |  | ● |  |  |
| Concrete / Masonry Dams |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Upstream face |  |  |  |  |  |  |  |  |  |  |  |  |  | ● | ● |  |
| Downstream face |  |  |  |  |  |  |  | ● |  |  |  |  |  | ● | ● |  |
| Left/right abutments | ● | ● | ● |  |  |  |  | ● | ● | ● | ● |  |  |  |  |  |
| Crest (Dam top) |  |  |  |  |  |  |  |  |  |  |  |  | ● | ● | ● |  |
| Internal Body Drains |  |  |  |  |  |  |  | ● |  |  |  | ● | ● | ● |  | ● |
| Foundation drainage holes |  |  |  |  |  |  |  | ● |  |  |  | ● | ● | ● |  | ● |
| Galleries |  |  |  |  |  |  |  | ● |  |  |  |  | ● | ● | ● |  |
| Sluice / Controls |  |  |  |  |  |  |  | ● |  |  |  | ● | ● | ● | ● | ● |
| Spillways |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Approach channel | ● | ● | ● |  |  |  |  |  |  |  |  |  |  | ● | ● |  |
| Control Structure |  |  |  |  |  |  |  | ● |  |  |  |  |  | ● | ● | ● |
| Stilling basin / EDA |  |  | ● |  |  |  |  |  |  |  |  |  |  | ● | ● |  |
| Discharge conduit/ channel | ● | ● | ● |  |  |  |  |  |  |  |  | ● | ● | ● | ● | ● |
| Control Features (Gates, Hoists) |  |  |  |  |  |  |  | ● |  |  |  | ● | ● | ● | ● | ● |
| Erosion Protection d/s of EDA | ● | ● | ● |  |  |  |  |  |  |  |  |  |  | ● | ● |  |
| Side Slopes | ● | ● | ● |  |  |  |  | ● |  |  |  |  |  | ● | ● |  |
| Outlet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outlets | ● |  | ● |  |  |  |  | ● |  |  |  | ● | ● | ● | ● | ● |
| Stilling basin |  |  |  |  |  |  |  |  |  |  |  |  |  | ● | ● |  |
| Trash racks/debris removal |  |  |  |  |  |  |  |  |  |  |  | ● | ● | ● |  | ● |
| General Areas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reservoir Surface |  |  |  |  |  |  |  |  |  |  |  |  |  | ● |  |  |
| Reservoir Periphery | ● | ● | ● |  |  |  |  |  |  |  |  |  |  | ● |  |  |