NOTE:

This matrix is for guidance only and should be developed further by the Entity to meet site-specific system-level and competency-level requirements.

In-House Skill:

Level 1 – Manufacturer trained and/or Engineer

Level 2 – Certified Discipline trained

Level 3 – Competency assessed operative

Level 4 – Assessed helper

Specialist Skill:

Level 1 Specialist – Life Safety Licensed Company and Operatives

Level 2 Specialist – Manufacturer/Manufacturer Trained and Certified

| Type of Maintenance Task | Service Provision by: |  | Required Competency Level |
| --- | --- | --- | --- |
| Mechanical Systems | In-house | Specialist Supplier | In-House Skill Level 1 – 4, or Specialist Skill Level 1 – 2. |
| Water Treatment Systems/Plants |  |  |  |
| Life Safety Systems |  |  |  |
| Plumbing Systems |  |  |  |
| HVAC Systems |  |  |  |
| Generators/ Fuel Systems |  |  |  |
| Chillers Systems |  |  |  |
| Water Treatment System | In-house | Specialist Supplier |  |
| Chilled Water Treatment |  |  |  |
| Cooling Tower/ Condenser Water Treatment (Open Loop Building) |  |  |  |
| DCP Cooling Tower (Community) |  |  |  |
| Steam Boiler System (Laundry) |  |  |  |
| Potable/Domestic Water System |  |  |  |
| Filtration Systems (UV Systems) |  |  |  |
| Gray Water Systems |  |  |  |
| Sewage Treatment Plant |  |  |  |