NOTE:

1/ This matrix is a guide representation only and should not be replicated as a true illustration of the system competency level requirements

2/ This matrix guide is not a final and comprehensive table and requires further development in line with the facilities LSS assets.

In-house Skill:

Level 1 – manufacturer trained & or Engineer level 2 – certified Discipline trained, level 3 - competency assessed operative, level 4 – assessed helper

Specialist Skill:

Level 1 specialist – life safety licensed company and operatives, Level 2 specialist – Manufacturer / manufacturer trained and certified

| Type of maintenance task | Service provision by |  | Required competency level |
| --- | --- | --- | --- |
| Emergency Power Distribution System | In-house | Specialist Supplier |  |
| Generator Panels (EPDS) |  |  | Level 1 / 2 in-house & Level 1 specialist |
| Auto Transfer Switches |  |  | Level 1 specialist |
| Ring Main Units |  |  | Level 1 specialist |
| MV to LV Transformers |  |  | Level 1 specialist |
| Emergency Power Main Distribution Board |  |  | Level 1 / 2 in-house & Level 1 specialist |
| Emergency Power Sub-Main Distribution Board |  |  | Level 1 / 2 in-house |
| Emergency Power Local Distribution Board |  |  | Level 1 / 2 in-house |
| Monitoring |  |  | Level 1 / 2 in-house |
| Scheduled PM and Testing to Standard/Regulation |  |  | Level 1 / 2 in-house & Level 1 specialist |
| Fire Suppression | In-house | Specialist Supplier |  |
| Sprinkler |  |  | Level 1 / 2 in-house & level 1 specialist |
| Foam |  |  | Level 1 specialist |
| Gaseous |  |  | Level 1 specialist |
| Water Mist |  |  | Level 1 specialist |
| Hose Reel and Cabinets |  |  | Level 1 specialist |
| Hydrant |  |  | Level 1 specialist |
| Extinguisher |  |  | Level 1 specialist |
| Blanket |  |  | Level 1 / 2 in-house |
| Monitoring |  |  | Level 1 / 2 in-house |
| Scheduled PM and Testing to Standard/Regulation |  |  | Level 1 / 2 in-house & level 1 specialist |
| Fuel Storage |  |  |  |
| Tanks |  |  | Level 1 / 2 in-house |
| Cleaning |  |  | Level 1 specialist |
| Monitoring |  |  | Level 1 / 2 in-house |
| Scheduled PM and Testing to Standard/Regulation |  |  | Level 1 / 2 in-house & level 1 specialist |

NOTE:

1/ This matrix is a guide representation only and should not be replicated as a true illustration of the system competency level requirements

2/ This matrix guide is not a final and comprehensive table and requires further development in line with the facilities LSS assets

In-house Skill:

Level 1 – manufacturer trained & or Engineer level 2 – certified Discipline trained, level 3 - competency assessed operative, level 4 – assessed helper

Specialist Skill:

Level 1 specialist – life safety licensed company and operatives, Level 3 specialist – Manufacturer / manufacturer trained and certified

| Type of maintenance task | Service provision by: |  | Required competency level |
| --- | --- | --- | --- |
| Emergency Power Distribution System | In-house | Specialist Supplier |  |
| Generator Panels(EPDS) |  |  |  |
| Auto Transfer Switches |  |  |  |
| Ring Main Units |  |  |  |
| MV to LV Transformers |  |  |  |
| Emergency Power Main Distribution Board |  |  |  |
| Emergency Power Sub-Main Distribution Board |  |  |  |
| Emergency Power Local Distribution Board |  |  |  |
| Monitoring |  |  |  |
| Scheduled PM and Testing to Standard/Regulation |  |  |  |
| Fire Suppression | In-house | Specialist Supplier |  |
| Sprinkler |  |  |  |
| Foam |  |  |  |
| Gaseous |  |  |  |
| Water Mist |  |  |  |
| Hose Reel and Cabinets |  |  |  |
| Hydrant |  |  |  |
| Extinguisher |  |  |  |
| Blanket |  |  |  |
| Monitoring |  |  |  |
| Scheduled PM and Testing to Standard/Regulation |  |  |  |
| Fuel Storage |  |  |  |
| Tanks |  |  |  |
| Cleaning |  |  |  |
| Monitoring |  |  |  |
| Scheduled PM and Testing to Standard/Regulation |  |  |  |