NOTE:

1 – This matrix is a guide representation only and should not be replicated as a true illustration of the system competency level requirements

2 – This matrix guide is not a final and comprehensive table and requires further development in line with the facilities electrical system assets.

In-house Skill:

Level 1 – manufacturer trained & or Engineer level 2 – certified Discipline trained, level 3 - competency assessed operative, level 4 – assessed helper

Specialist Skill:

Level 1 specialist – life safety licensed company and operatives, Level 2 specialist – Manufacturer / manufacturer trained and certified

| Type of maintenance task | Service Provision by: |  | Required competency level |
| --- | --- | --- | --- |
| LV Emergency power Distribution | In-house | Specialist Supplier |  |
| Emergency power MDB’s |  |  | Level 1 / 2 in-house & Level 1 specialist |
| Emergency power SMDB |  |  | Level 1 / 2 in-house |
| Emergency power DB |  |  | Level 1 / 2 in-house |
| Emergency power 410V equipment |  |  | Level 1 / 2 in-house |
| Emergency power 230V equipment |  |  | Level 1 / 2 in-house |
| LV Normal power Distribution | In-house | Specialist Supplier |  |
| Normal power MDB’s |  |  | Level 2 / 3 in-house |
| Normal power SMDB |  |  | Level 2 / 3 in-house |
| Normal power DB |  |  | Level 2 / 3 in-house |
| Normal power 410V equipment |  |  | Level 2 / 3 in-house |
| Normal power 230V equipment |  |  | Level 2 / 3 / 4 in-house |
| Normal power Light fittings |  |  | Level 2 / 3 / 4 in-house |
| Normal power outlets |  |  | Level 2 / 3 / 4 in-house |
| Type of maintenance task | Service provision by: |  | Required competency level |
| LV Life safety equipment / plant | In-house | Specialist Supplier |  |
| Life safety MDB |  |  | Level 1 / 2 in-house & level 1 specialist |
| Life safety SMDB |  |  | Level 1 / 2 |
| Life safety DB |  |  | Level 1 / 2 |
| Fire Panels |  |  | Level 1 / 2 n-house & level 1 specialist |
| Fire pumps |  |  | Level 1 / 2 in-house & level 1 specialist |
| Central battery |  |  | Level 1 specialist |
| LV Specialist equipment | In-house | Specialist Supplier |  |
| UPS panel |  |  | Level 2 specialist |
| UPS outlets |  |  | Level 2 / 3 in-house & Level 2 specialist |
| Expand columns/ rows for other equipment as required | In-house | Specialist Supplier |  |

Attachment 2 - continued

NOTE:

1 – This matrix is a guide representation only and should not be replicated as a true illustration of the system competency level requirements

2 – This matrix guide is not a final and comprehensive table and requires further development in line with the facilities electrical system assets.

In-house Skill:

Level 1 manufacturer trained and/or Engineer Level 2 certified discipline trained, level 3 - competency assessed operative, level 4 – assessed helper

Specialist Skill:

Level 1 specialist – life safety licensed company and operatives, Level 3 specialist – Manufacturer / manufacturer trained and certified

| Type of maintenance task | Service provision by: |  | Required competency level |
| --- | --- | --- | --- |
| LV Emergency power Distribution | In-house | Specialist Supplier |  |
| Emergency power MDB’s |  |  |  |
| Emergency power SMDB |  |  |  |
| Emergency power DB |  |  |  |
| Emergency power 410V equipment |  |  |  |
| Emergency power 230V equipment |  |  |  |
| LV Normal power Distribution | In-house | Specialist Supplier |  |
| Normal power MDB’s |  |  |  |
| Normal power SMDB |  |  |  |
| Normal power DB |  |  |  |
| Normal power 410V equipment |  |  |  |
| Normal power 230V equipment |  |  |  |
| Normal power Light fittings |  |  |  |
| Normal power outlets |  |  |  |
| Type of maintenance task | Service provision by: |  | Required competency level |
| LV Life safety equipment / plant | In-house | Specialist Supplier |  |
| Life safety MDB |  |  |  |
| Life safety SMDB |  |  |  |
| Life safety DB |  |  |  |
| Fire Panels |  |  |  |
| Fire pumps |  |  |  |
| Central battery |  |  |  |
| LV Specialist equipment | In-house | Specialist Supplier |  |
| UPS panel |  |  |  |
| UPS outlets |  |  |  |
| Expand columns/ row’s for other equipment as required | In-house | Specialist Supplier |  |