NOTE:

- This matrix is a guide representation only and should not be replicated as a true illustration of the HVAC system competency level requirements

- This matrix guide is not a final and comprehensive table and requires further development in line with the facilities’ HVAC system assets

In-House Skill:

Level 1 – Manufacturer Trained and/or Engineer

Level 2 – Certified Discipline Trained

Level 3 – Competency Assessed Operative

Level 4 – Assessed Helper

Specialist Skill:

Level 1 Specialist – Life Safety Licensed Company and Operatives

Level 3 Specialist – Manufacturer/Manufacturer Trained and Certified

| Type of Maintenance Task | Service Provision by: |  | Required Competency Level |
| --- | --- | --- | --- |
| HVAC Systems | In-house | Specialist Supplier | Level 1/2 in-house and Level 1 specialist |
| Central Heating and Cooling Systems |  |  |  |
| Air Distribution Systems |  |  |  |
| In-Room Terminal Systems |  |  |  |
| Applied Heat Pump and Heat Recovery Systems |  |  |  |
| Forced Air Heating and DX Cooling Systems |  |  |  |
| Steam Systems (humidification) |  |  |  |
| Hydronic Heating and Cooling Systems |  |  |  |
| Variable-Refrigerant Flow Systems |  |  |  |
| Dust Collection Systems |  |  |  |
| Condenser Water Systems |  |  |  |
| Specialist Systems |  |  |  |
| Emergency Life Safety Systems |  |  |  |
| DX and Split units |  |  |  |
| Chilled Water Systems |  |  |  |
| Chillers |  |  |  |