NOTE:

1/ This matrix is a guide representation only and should not be replicated as a true illustration of the system competency level requirements

2/ This matrix guide is not a final and comprehensive table and requires further development in line with the facilities electrical system assets.

In-house Skill:

Level 1 – manufacturer trained & or Engineer

level 2 – certified Discipline trained

level 3 - competency assessed operative

level 4 – assessed helper

Specialist Skill:

Level 1 specialist – Manufacturer

Level 2 specialist –manufacturer trained and certified

| Type of maintenance task | Service provision by: |  | Required competency level |
| --- | --- | --- | --- |
| LV Normal power Distribution | In-house | Specialist Supplier |  |
| MDB (Area sector) |  |  | Level 2 in-house Level 1 /2 specialist |
| Sub Main Feeder Pillar (section) |  |  | Level 2 / 3 in-house |
| Distribution Feeder Pillar (local) |  |  | Level 2 / 3 in-house |
| Associated 410V equipment |  |  | Level 2 / 3 / 4 in-house |
| Associated 230V equipment |  |  | Level 2 / 3 / 4 in-house |
| Lighting pole fused tap-off |  |  | Level 2 / 3 / 4 in-house |
| Lighting Heads |  |  | Level 2 / 3 / 4 in-house |
| Type of maintenance task | Service provision by: |  | Required competency level |
| ELV equipment / plant | In-house | EXAMPLE Specialist Supplier |  |
| Wind Turbines Localized |  |  | Level 2 / 3 in-house Level 1 / 2 specialist |
| Wind turbine Backup Batteries + inverter |  |  | Level 2 / 3 in-house Level 1 / 2 specialist |
| ICT Communication cabinets & Control Equipment |  |  | Level 1 / 2 specialist |
| LV Specialist equipment | In-house | Specialist Supplier |  |
| Solar panel |  |  | Level 2 specialist |
| Solar Panel Backup Batteries + inverter |  |  | Level 2 / 3 in-house Level 1 / 2 specialist |
| Expand columns/ row’s for other equipment as required | In-house | Specialist Supplier |  |

Maintenance Skill Level Requirements

1 of 2

| Type of maintenance task | Service provision by: |  | Required competency level |
| --- | --- | --- | --- |
| LV Normal power Distribution | In-house | Specialist Supplier |  |
| MDB (Area sector) |  |  |  |
| Sub Main Feeder Pillar (section) |  |  |  |
| Distribution Feeder Pillar (local) |  |  |  |
| Associated 410V equipment |  |  |  |
| Associated 230V equipment |  |  |  |
| Lighting pole fused tap-off |  |  |  |
| Lighting Heads |  |  |  |
| Type of maintenance task | Service provision by: |  | Required competency level |
| ELV equipment / plant | In-house | Specialist Supplier |  |
| Wind Turbines Localized |  |  |  |
| Wind turbine Backup Batteries + inverter |  |  |  |
| ICT Communication cabinets & Control Equipment |  |  |  |
| LV Specialist equipment | In-house | Specialist Supplier |  |
| Solar panel |  |  |  |
| Solar Panel Backup Batteries + inverter |  |  |  |
| Expand columns/ row’s for other equipment as required | In-house | Specialist Supplier |  |