NOTE:

- This matrix is for guidance only and should be developed further by the Entity to meet site-specific system-level and competency-level requirements.

- Assigning criticality of assets, and standards compliance remains the responsibility of each Entity.

| Description |  |  | System Equipment Category |  |  |  |  | Type of PPM included in plan |  |  |  |  | Compliant to | Frequency |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ME Systems | Sub-System | Equipment | Life safety | Critical | Essential | Utility | Non-Essential | Compliance | Standard | Regulatory | Manufacturer | Best Practice | Technical Standard | Site Specific FQ |
| Water Treatment | Chilled water | Automatic dosing systems | X | X |  |  |  |  | X |  | X | X |  |  |
|  | Cooling tower | Automatic controllers | X | X |  |  |  |  | X |  | X | X |  |  |
|  | DCP cooling tower | Sensors | X | X |  |  |  |  | X |  | X | X |  |  |
|  | Steam boiler | Carbon filters | X | X |  |  |  |  | X | X |  | X |  |  |
|  | Potable/domestic water | Filter housing | X | X |  |  |  | X | X | X | X | X |  |  |
|  | Filtration system | Water softeners | X | X |  |  |  | X | X | X | X | X |  |  |
|  | Gray water system | Pressure vessels | X | X | X | X | X |  | X | X | X | X |  |  |
|  | Sewage treatment Plant | Air blowers | X | X | X | X | X |  | X | X | X | X |  |  |
| Plumbing System | Potable cold water supply | Hot and cold mixture | X | X | X | X | X |  | X | X |  | X |  |  |
|  | Hot water supply | Valves | X |  |  |  |  | X | X | X | X | X |  |  |
|  | Drainage venting | Water meters | X |  |  |  |  | X | X | X | X | X |  |  |
|  | Water heater | Isolation valves | X | X |  |  |  | X | X | X | X | X |  |  |
|  | All types of pumps | Butterfly valves | X | X | X | X | X |  | X | X |  | X |  |  |
| Life safety S/M | FM200 | Hose reals | X | X | X | X | X |  | X | X | X | X |  |  |
|  | Fire Alarm | Fire pumps | X | X | X | X | X |  | X | X |  | X |  |  |
|  | Fire extinguishers | Fans and dampers | X | X | X | X | X |  | X | X | X | X |  |  |
|  | Sprinklers | Exist signage | X | X | X | X | X |  | X | X | X | X |  |  |
|  | Emergency lighting system | Manual call panel | X | X | X | X | X |  | X | X | X | X |  |  |
| HVAC System | Central heating and cooling | Direct Expansion (DX) | X |  |  |  |  | X | X | X | X | X |  |  |
|  | Air distribution system | Variable-refrigerant Flow (VRF) | X |  |  |  |  | X | X | X | X | X |  |  |
|  | DX units | Variable Air Volume (VAV) | X |  |  |  |  | X | X | X | X | X |  |  |
|  | Split units | Constant Air Volume | X | X | X | X | X |  | X | X |  | X |  |  |
|  |  | Roof Top Units | X | X | X | X | X |  | X | X |  | X |  |  |
|  |  | Air Handling Units | X | X | X | X | X |  | X | X |  | X |  |  |
|  |  | Fan Coil Units | X | X | X | X | X |  | X | X | X | X |  |  |
|  |  | Hybrid Heat Pump | X |  |  |  |  | X | X | X | X | X |  |  |
|  |  | Local Exhaust Ventilation | X |  |  |  |  | X | X | X | X | X |  |  |
| Generators | Generator control unit | Diesel Tank | X |  |  |  |  | X | X | X |  | X |  |  |
|  | Internal combustion engine | Filters: air and fuel | X | X | X | X | X |  | X | X | X | X |  |  |
|  | Starter motor | Control panel | X | X | X | X | X |  | X | X |  | X |  |  |
|  | Alternator | controllers | X | X | X | X | X |  | X | X |  | X |  |  |
| Chillers | Cooling towers | Automatic dosing systems | X |  | X |  |  | X | X |  | X |  |  |  |
|  | compressor | Pumps | X |  | X | X |  | X | X |  | X |  |  |  |
|  | Evaporators | Pressurization unit | X |  | X | X |  | X | X |  |  | X |  |  |
|  | Condensers | Control panels | X |  | X | X |  | X | X |  |  | X |  |  |
|  | Refrigerants | Control valves | X |  | X | X |  | X |  | X |  | X |  |  |
|  | Heat recovery systems | Bypass valves | X |  |  |  |  |  |  | X |  | X |  |  |
|  | Control Systems |  | X |  |  |  |  |  |  | X |  | X |  |  |
|  | Hydronic Distribution Systems |  | X |  |  |  |  |  |  | X |  | X |  |  |