PMT Test Plan checklists

Pre-Test Plan writing checklist

Test Plan writing checklist

These templates are intended to prompt the writer of the PMT Test Plan to consider the technical and non-technical resource and requirements perspective, including compliance, quality assurance, financial, information management, operational, stakeholder involvement, logistical, etc.

These templates should be altered to reflect the complexity of the writer’s organizational environment and the particular PMT requirements.

| PROJECT NAME: |  | ASSET ID: |  | REV. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Test Plan headings | Statement | Detail |  | Writer check |  |  |
|  |  |  |  |  | N/A | YES | NO |
| 1.0 | PMT Pre-Test Plan writing checklist |  |  |  |  |  |  |
| 1.1 | Statement of Requirement (SOR). | - Not Applicable |  |  |  |  |  |
|  |  | - Agreed by stakeholders? |  |  |  |  |  |
|  |  | - Project approved? |  |  |  |  |  |
| 1.2 | Factory Acceptance Testing (FAT). | - Not Applicable |  |  |  |  |  |
|  |  | - Testing criteria agreed? |  |  |  |  |  |
|  |  | - Test witnesses agreed? |  |  |  |  |  |
| .3 | PMT Level. | - Functional |  |  |  |  |  |
|  |  | - Limited |  |  |  |  |  |
|  |  | - Comprehensive |  |  |  |  |  |
| 1.4 | PMT Acceptance Criteria Category. | - Single parameter | Location, method, values |  |  |  |  |
|  |  | - Multiple parameter | Location, method, values |  |  |  |  |
|  |  | - Others, e.g., extreme | Location, method, values |  |  |  |  |
| 1.5 | Holistic impact assessment. | - Repaired asset/system only |  |  |  |  |  |
|  |  | - Adjacent assets/systems | Drawings and diagrams |  |  |  |  |
|  |  | - Integrated systems |  |  |  |  |  |
| 1.6 | Testing witnesses and stakeholders? | - None | Agreement to forward on report(s) |  |  |  |  |
|  |  | - External, specialists, etc. |  |  |  |  |  |
|  |  | - Internal, O&M, non-technical, etc. |  |  |  |  |  |
| 1.7 | Multiple testing events? | - Duration cause? |  |  |  |  |  |
|  |  | - Seasonal cause? |  |  |  |  |  |
|  |  | - Other causes? |  |  |  |  |  |
| 1.8 | Acceptance Criteria agreed? |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

| PROJECT NAME: |  | ASSET ID: |  | REV. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Test Plan headings | Statement | Detail |  | Writer check |  |  |
|  |  |  |  |  | N/A | YES | NO |
| 2.0 | PMT Test Plan writing checklist |  |  |  |  |  |  |
| 2.1 | Install new asset/ sub-system. | - Work Order number |  |  |  |  |  |
|  |  | - Pre-requisites, permissions | Risk Assessment/Method Statement (RAMS), Permit to Work (PTW), outage, access, overtime |  |  |  |  |
|  |  | - As Plan? | Risk and impact? |  |  |  |  |
| 2.2 | Prepare testing. | - Test procedure | Calibrated tools |  |  |  |  |
|  |  | - Temporary equipment and modifications | Loads banks, utility supplies |  |  |  |  |
|  |  | - Isolations, mitigations, etc. |  |  |  |  |  |
| 2.3 | Testing witnesses and stakeholders present? | - None | Agreement to forward on report(s) |  |  |  |  |
|  |  | - External, specialists, etc. |  |  |  |  |  |
|  |  | - Internal, O&M, non-technical, etc. |  |  |  |  |  |
| 2.4 | Carry out PMT. | - No deviation(s) |  |  |  |  |  |
|  |  | - Minor deviation(s) | Assess impact |  |  |  |  |
|  |  | - Major deviation(s) | Consider retest |  |  |  |  |
| 2.5 | All criteria pass/acceptable? | - All fail | Root Cause Analysis. Cost. |  |  |  |  |
|  |  | - Minor fails | Conditional handover? Resolution timescale. |  |  |  |  |
|  |  | - Major fails | Investigation. Reschedule. |  |  |  |  |
| 2.6 | Reduce/relax Acceptance Criteria | - Not permitted | Consequences |  |  |  |  |
|  |  | - Expected | Acceptable compromises |  |  |  |  |
|  |  | - Unexpected | Decision maker, escalation |  |  |  |  |
| 2.7 | Maintenance requirements changed? | - No change |  |  |  |  |  |
|  |  | - Minor | Consumables, tasks, frequencies |  |  |  |  |
|  |  | - Major | Contract amendment, resources, skillsets |  |  |  |  |
| 2.8 | Operations requirements changed? | - No change |  |  |  |  |  |
|  |  | - Minor | Training |  |  |  |  |
|  |  | - Major | New SOP/EOPs and training |  |  |  |  |
| 2.9 | Document and records updating. | - Asset Register and Asset Management |  |  |  |  |  |
|  |  | - Manuals and drawings | Integrated into ‘site’ drawings |  |  |  |  |
|  |  | - Warranty | Managed through CMMS |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |