Expro Projects White Book

Volume 6, Chapter 7

Basic Engineering Design Data - Template

Document No. EPM-KE0-TP-000013 Rev 001

Document Submittal History:

| Rev.: | Rev Status | Date: | Entity | Prepared by: | Reviewed by: | Approved by: |
| --- | --- | --- | --- | --- | --- | --- |
| 00X | For XXXXX | DD/MM/YYYY | XXXXX | NAME | NAME | NAME |
| Signatures: |  |  |  |  |  |  |

THIS NOTICE MUST ACCOMPANY EVERY COPY OF THIS DOCUMENT

IMPORTANT NOTICE

This document, (“Document”) is the exclusive property of the Expenditure Efficiency &Project Authority (“EXPRO”).

This Document should be read in its entirety including the terms of this Important Notice. The government entities may disclose this Document or extracts of this Document to their respective consultants and/or contractors, provided that such disclosure includes this Important Notice.

Any use or reliance on this Document, or extracts thereof, by any party, including government entities and their respective consultants and/or contractors, is at that third party’s sole risk and responsibility. EXPRO, to the maximum extent permitted by law, disclaim all liability (including for losses or damages of whatsoever nature claimed on whatsoever basis including negligence or otherwise) to any third party howsoever arising with respect to or in connection with the use of this Document including any liability caused by negligent acts or omissions.

This Document and its contents are valid only for the conditions reported in it and as of the date of this Document.

Table of Contents

1.0	Purpose	5

2.0	FACILITY DESCRIPTION	5

3.0	SITE-SPECIFIC DESIGN CRITERIA	5

3.1	Facility Location	5

3.2	Ambient Conditions	6

3.3	Precipitation	7

3.4	Wind	7

3.5	Seismology	7

3.6	Frost Depth	7

3.7	Noise Limits	7

3.8	Existing Site Survey, Geotechnical and Hydrology Data	8

3.9	Tie-ins with Existing Site Utilities	8

3.9.1	Electrical Power Sources Available	8

3.9.2	Compressed Air	8

3.9.3	Water Systems	8

3.9.4	Site Drainage	8

# Purpose

Provide the purpose of Basic Engineering Design Data document and who will produce and approve. Refer to Chapter 7.0 for the reason of developing Basic Engineering Design Data document. Write may add/ delete sections defined in this template to suit every project.

General note (applicable to all documents): Information provided in other project documents such as Scope of Work, Design Basis, Design Criteria, Geotechnical report, etc. should not be repeated in entirety in different documents (including this), only brief description and reference to other documents be provided.

# FACILITY DESCRIPTION

Provide brief description of the project – capacity, key design requirements/ risks/ open issues, etc.

# SITE-SPECIFIC DESIGN CRITERIA

## Facility Location

Provide the location of Project including name of the local body having jurisdiction on Project site, site access roads and approximate plot boundary details.

## Ambient Conditions

Define the following ambient conditions to be used as basis for the design of the Project:

| Design Criteria for Outdoor Equipment |  |
| --- | --- |
| Maximum Design Dry Bulb Temperature | XX 0C |
| Coincident Wet Bulb Temperature | XX 0C |
| Minimum Design Dry Bulb Temperature | XX 0C |
| Design Criteria for Indoor Equipment Inside Building |  |
| Maximum Design Dry Bulb Temperature | XX 0C |
| Minimum Design Dry Bulb Temperature | XX 0C |
| HVAC Design Conditions |  |
| Maximum Outdoor Dry Bulb Temperature | XX 0C |
| Coincident Wet Bulb Temperature | XX 0C |
| Minimum Outdoor Dry Bulb Temperature | XX 0C |
| Design Wind Speed | Xxx kph |
| Facility Conditions |  |
| Barometric Pressure | XX Pascal |
| Elevation (define applicable Datum) | XXX Meters above MSL |
| For Indoor Facilities (if not provided elsewhere) |  |
| Heated and Ventilated (Not Air-Conditioned) Design Indoor Bulk Temperature Range for Ventilation Fan Sizing Minimum Indoor Temperature (for designing heating) | xx0C - yy0C XX 0C |
| Air-Conditioned Space Indoor Design Conditions Occupied Areas Maximum Minimum Relative Humidity Un-occupied Areas Maximum Minimum | xx0C xx0C xx% ± y% xx0C xx0C |

## Precipitation

Provide Annual average total, max 24-hour total and max 25 year 5-minute rainfall intensity:  xxx mm

## Wind

Provide design wind load criteria including importance factor, 3 sec gust and exposure category. Consider using data from Saudi Building codes if it specifies for the project site. Similarly provide Snow data if applicable.

## Seismology

Provide seismic design basis including site class, mapped spectral acceleration for short and long periods, and Seismic design category.

## Frost Depth

Provide design depth of frost penetration in meters below grade for the site (if applicable)

## Noise Limits

Specify permissible noise levels for individual pieces of equipment when operating during normal steady-state conditions at x M in the horizontal plane and y M in the vertical plane. Define units of measurement for sound levels.

## Existing Site Survey, Geotechnical and Hydrology Data

Provide details of any existing information on site survey, geotechnical/hydrological test/ report available for the project site which can be used in the design of the project. Include report on any site walk down done for the project to familiarize with existing site conditions, encroachment, waste dumps, fencing, approach, etc.

## Tie-ins with Existing Site Utilities

### Electrical Power Sources Available

Define available power sources including min/max voltage/frequency variation, method of grounding, fault level, tie-in point, etc. for both operation and construction.

### Compressed Air

Define available compressed air system pressure, temperature and dew point for plant and instrument system available for Project use.

### Water Systems

Define available Potable/Fire/Demineralized/Cooling water system with tie-in points, capacities including spare, pressure and temperature at project site.

### Site Drainage

Provide details of existing surface/underground drainage system including sewer and irrigation systems at project site and capacities/existing utilization.