| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report/Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ Etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Project |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal | Prior to commencement | Project Specific | Documents available and latest revision from document management system |  |  |  |  |
| 2.0 | Material receiving |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  | Materials receipt |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Storage method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Mock-up |  |  |  |  |  |  |  |  |
| 4.1 |  | Mock-up of typical corner / interface wall section to verify aesthetics and detail. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.0 | Pre-construction |  |  |  |  |  |  |  |  |
| 5.1 |  | Foundation surveyed and dimensions verified. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.0 | Installation |  |  |  |  |  |  |  |  |
| 6.1 |  | Temporary supports in place in accordance with temporary works design. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | Visual and dimensional check of blockwork for level, alignment openings, tolerances & interfaces. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.3 |  | Mortar cubes to be taken and tested for 7day and 28day strength | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.4 |  | Exposed face of blockwork to be damage and mortar splash free. |  |  |  |  |  |  |  |
| 7.0 | Lintels, Openings and Framings |  |  |  |  |  |  |  |  |
| 7.1 |  | Lintels, structural frames, copings, etc. shall bearing on to blockwork in accordance with design details. | Project Specific | Standard Detail | Project Specific |  |  |  |  |
| 8.0 | Final Inspection |  |  |  |  |  |  |  |  |
| 8.1 |  | As-built survey undertake |  |  |  |  |  |  |  |
| 9.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 9.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |  |