## EOM-ZM0-TP-000016 - UPS Yearly Maintenance Plan Example Template

| UPS Maintenance Schedule |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Month of Year - Schedule |  |  |  |  |  |  |  |  |  |  |  |  |  | Periodic Schedules |  |  |  |  |
| Maintenance Item | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Column1 | Monthly | Quarterly | Bi-Annual | Annual | Biennial | Quinquennial |
| Battery Replacement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Battery terminals |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |
| Battery Fuses |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Battery Isolator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Battery swelling |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Room / Cabinet cooling |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Control Panel |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |  |  |
| Clean Grills |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Clean Heat sinks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |  |
| Fan replacement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Static Bypass |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| External bypass |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Load Test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |  |
| Inverter Capacitors |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| Inverter IGBTs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |